Mars Dust Devil Research

Francis Quinn

WK 8&9 writeup

We were tasked with troubleshooting a Trisonica li550 wind sensor using an Anamoment data logger422. The data we were getting was only showing pressure data which read at a constant 920.3 and a few other variables that I did not understand even after reading through the manuals.  There were some wiring issues and Noah tried everything he could on the software side of things but ultimately, we kept getting this weird data.

The second set of tasks we were given was to read two of Brian's papers on dust devil heights and occurrence rates. The papers were very technical and involved math i had never seen. I read them and understood what i could, but luckily Brian wants us to come in and discuss the papers with him to get a better understanding.